## Slide 1
THE GREAT INVERSION
Cheap Supply, Scarce Connection
Why America's electricity institutions are the bottleneck, and the five principles that complete the unbundling
The Great Inversion | August 2026
Notes: Thesis: the grid no longer suffers from scarce electricity; it suffers from scarce permission. The monopoly has narrowed.

## Slide 2
America's new bottleneck
The grid no longer suffers from scarce electricity. It suffers from scarce permission.
2,061 GW
waiting in interconnection queues
exceeds the U.S. fleet; 549 GW already signed
5+ years
median wait; over 8 years in PJM
~13% of queued capacity historically reaches operation
$16.4B
PJM capacity cost, up from $2.2B
4 straight auctions at administrative caps
Meanwhile: hyperscale campuses cannot buy power they would pay a premium for, and gas turbine order books quote deliveries near five years out.
Sources: LBNL Queued Up 2026 Edition; PJM auction reports 2024-26; RMI (2026); GE Vernova 8-K and IEEFA on turbine lead times
Notes: Open with outcomes, not institutions. Every number here is the audience's lived problem.

## Slide 3
The state of the grid
THEN
NOW (2026)
Utility-scale solar LCOE
$359/MWh (2009)
$40-98, avg $69
Lazard 2026
Battery pack price
≈$1,475/kWh (2010, real)
$108/kWh; $70 stationary
BNEF 2025
Interconnection queue
fraction of fleet (mid-2000s)
2,061 GW > fleet
LBNL 2026
Typical queue duration
<2 years (mid-2000s)
5+ yrs; 8+ in PJM
LBNL; RMI
Queue completion rate
majority connected
≈13%
LBNL 2026
Gas turbine lead time
≈2 years (2019)
≈5 yrs (frame-class)
IEEFA; GE Vernova
PJM annual capacity cost
$2.2B (2024/25)
$16.4B (2028/29)
PJM
Every row moves the same direction: supply and capital got cheap while connection and customer costs got worse. (Queue counts proposed projects and shrank 10% in 2025 on reform shakeout; even at the historical 13 percent completion rate it implies ~270 GW, and 549 GW already holds an agreement.)
Notes: The thesis as a checkable dashboard. Acknowledge the speculative-queue caveat proactively.

## Slide 4
Every founding assumption has flipped
1980
Generation: scarce, central, utility-built
Storage: impossible
Demand: passive and predictable
Transmission: ample
Connection: trivial
Institutions: matched the technology
2026
Generation: abundant, and not only utilities build it
Storage: a manufactured product on a falling cost curve
Demand: growing, flexible, self-supplying
Transmission: scarce
Connection: the binding constraint
Institutions: reformed five times; but the payoff and the gate survived
Notes: Solar LCOE fell 84% since 2009 (Lazard 2026); battery packs fell 93% since 2010 (BNEF 2025). Demand is back, led by data centers whose binding variable is time to power.

## Slide 5
The grid has become industrial policy
1
AI
Training capacity is gated on powered land. Time to power now outranks price of power for hyperscale siting.
2
Manufacturing
Fabs and reshored factories site wherever connection is fastest, which increasingly means abroad or behind a private fence.
3
Reliability politics
DOE has invoked emergency authority to keep aging plants running; capacity price caps are negotiated by governors.
4
The clock
Gas turbines quote ~5-year deliveries. The fastest capacity in America is whatever can connect at the grid edge, and the second fastest is already built, waiting in the queue.
Notes: Raises the stakes beyond the utility sector: national competitiveness frame.

## Slide 6
Rule 1. Utilities earn more when they spend more
TODAY: cost-of-service
Utility spends capital
Capital enters rate base
Profit = % of what was built
REFORMED: performance-based
Utility delivers outcomes
Revenue capped, benchmarked
Profit = cheapest good solution
A $2M/yr battery contract that beats a $40M substation earns the utility $0 today. Reconductoring that doubles a line at 1/5 the cost of greenfield is 4/5 of an asset never built. (Averch-Johnson 1962; PNAS 2024)
Britain since 2013: networks earned ~9% real on equity vs a 5-6% UK average, which the National Audit Office called too generous. The failure mode of performance regulation is over-earning.
Notes: Political economy insight: no bad faith required, the objective function does the work. Capture (Stigler 1971; FirstEnergy/HB6) compounds it.

## Slide 7
Rule 2. The monopoly administers the gate
Runs the queue, holds the data
The wires owner administers access to its own network: it runs the queue, sets the study assumptions, and holds the hosting data every decision rests on.
Earns on the alternative
It also earns a regulated return on the capital alternative to whatever is asking to connect. The referee has a position in the game; no bad faith required.
Adjudicated once, in 1996
FERC found utility-administered transmission access discriminatory and ordered it opened (Order 888). No equivalent order governs distribution.
The result
This rule keeps the other four in place: serial permission, the capital bias, and fragile compensation persist because the gatekeeper administers them.

## Slide 8
Rule 3. Distributed resources are compensated by tariffs that can be rewritten, not by contracts that can be financed
Months to connect
Distributed solar, batteries, and flexible demand interconnect in months and sit exactly where constraints bind.
Rules rewritten every few years
Net-metering regimes and successor tariffs redesigned repeatedly, sometimes retroactively; California alone has cycled through three.
Wholesale door stuck
FERC Order 2222 (2020) compliance still pending: ISO-NE late 2026, PJM 2028, MISO 2029, SPP 2030.
The result
The most scalable resources on the grid cannot be financed against rules that change with each rate case. Predictability, more than price, is the binding constraint.
Notes: Whatever the right compensation level, the churn itself is the institutional failure.

## Slide 9
Rule 4. Projects must ask permission one at a time
The median project (study-first regions)
1. File request, enter queue
2. Feasibility study
3. System impact study
4. Restudy (neighbor drops out)
5. Cluster restudy
6. Network upgrade cost shock
7. 5+ yrs gone (8+ in PJM); 4 in 5 exit
The same project in Texas
Connect and manage: study local reliability only, connect fast, manage congestion in the market, developer bears curtailment risk.
Result: 14.2 GW online in 2021-22 vs PJM's 5.6 GW, at less than half PJM's size.
Same physics. Same technology. Different rulebook.
PJM's 2026 filing toward connect-and-manage for large loads concedes the point. Honest caveat: ERCOT's own median storage timeline has drifted toward four years. Sources: LBNL 2026; RMI 2026; Norris (Duke) 2023; S&P Global via Utility Dive
Notes: One story beats ten statistics. The Texas column is the control group.

## Slide 10
Rule 5. Reliability is bought as a commodity, not financed as an asset
Chart: Capacity cost by delivery year
| 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29
PJM capacity cost ($B/yr) | 2.2 | 14.7 | 16.1 | 16.4 | 16.4
Last four auctions hit administrative price caps
Dec 2025: 6,623 MW short of the reliability requirement.
July 2026 new entry attracted: ~525 MW
Clearing price swung $28.92 → $269.92/MW-day in one cycle: unbankable for new steel
An auction clearing at a governor-negotiated ceiling is a rate case with extra steps
Sources: PJM Base Residual Auction reports and press releases, 2024-26 (2027/28 report, Dec 17, 2025); PJM simulated an uncapped 2027/28 price of $529.80/MW-day
Notes: Data centers are an awkward villain: most would rather contract for their own capacity (Google-I&M, Google-TVA 2025) but the institutions offered no product.

## Slide 11
What FERC already fixed, and what it did not
Before Order 2023
Serial, project-by-project studies
Restudies triggered by every withdrawal
Weak readiness requirements
After Order 2023
First-ready, first-served clusters
Readiness gates and deposits
Study deadlines with penalties
Still unresolved
Network expansion and cost allocation
Distribution-level access
Operating constraints and curtailment rules
Study reform alone does not solve network expansion, cost allocation, operating limits, or distribution access.
Notes: Concede what has already been fixed. Order 2023 replaced serial studies with clusters and readiness gates. Timelines did not collapse, because the binding problems are elsewhere. This slide is why the proposal is not naive about federal action.

## Slide 12
Five principles complete the unbundling
1
Pay for performance
Totex caps + yardstick benchmarks (Britain, Hawaii). Goes first: converts opponents.
2
Separate the referee
Independent or ringfenced DSO runs interconnection, data, edge markets. Britain: RIIO-ED2 licences 2023, NESO 2024.
3
Pay resources for what they do for the grid
Default dynamic rates + posted locational offers + Australian-style operating envelopes.
4
Connect by rule
As-of-right for small; connect-and-manage for bulk and large loads; reconductor-first for transmission.
5
Make new load fund reliability
Forward obligations replace the auction. Hyperscalers carry their cost; generators get PPAs.
Every preferred mechanism already operates somewhere. None requires an act of Congress.
Notes: Sequencing is the strategy: Principle 1 changes what utility earnings reward before the rest change what utilities control.

## Slide 13
Who wins, who fights, who flips
DER developers & aggregators
Very high
Durable tariffs + connection by right are the business case
New-entrant developers
High
Long-tenor contracts replace an auction that drew 525 MW
Institutional capital
High
Contracted revenue + predictable regulation = financeable
Large loads (hyperscalers)
High
Time to power dominates; assigned capacity cost is small by comparison
Governors
First mover
Opportunity to lead and attribute the result to this leadership
Building trades & IBEW
Mixed
Totex redirects the capital program rather than shrinking it
Incumbent generation & transmission
Resistant
Leverage runs through RTO sector voting; answer is contracts + FERC process
Investor-owned utilities
Strongest opposition
four of five principles hit their model, and they fight at the statehouse
The hard fight is at home, not in Washington: utilities fight where four of five principles are decided.
Notes: The two resistant rows are not equivalent. Generators lose revenue from one reform and fight at FERC and in RTO sector voting. IOUs face a business-model change from four of five and fight at the statehouse, where those four are decided and where intervenors are outspent. Principle 1 is aimed at exactly that.

## Slide 14
Roadmap: 2027 to 2035, states first, FERC in parallel
2027
Open the fronts
3-5 states open performance-based regulation dockets; order open data. FERC rulemakings: connect-and-manage where technically feasible; O.2222 deadlines. PJM obligation transition begins.
2028-29
Change the payoffs
Totex orders effective; the payoff flips from building to saving. Automated small-resource screening live. Large-load flexibility tariffs standardized.
2030-31
Separate & transition
Separated access administration in lead states. Envelopes at scale. First hybrid delivery year; legacy commitments paid in full.
2032-35
Complete the settlement
Auctions sunset as obligations mature. Value-stack tariffs end the net-metering cycle. Yardstick benchmarks take over allowance-setting.
First movers: FERC and three governors. First beneficiaries: everyone waiting in a queue.
Notes: Sequencing logic: Principle 1 converts opponents for everything downstream; obligations go last because they need contract-market depth.

## Slide 15
What this does to an electric bill
The cheapest electricity ever generated is arriving as electric bills rising faster than inflation: residential rates +33% since 2019; a record $31B of rate increases requested in 2025, double the prior year (LBNL).
SUPPLY LINE
Principle 4: connect by rule
Queue clearance lets $40-98/MWh generation compete in. Each +10 pts of completion is roughly a decade of additions arriving to bid.
RELIABILITY LINE
Principle 5: make new load fund reliability
The $2.2B → $16.4B capacity escalation moves off household bills and onto the loads driving it. Contracts replace cap-priced charges.
DELIVERY LINE
Principles 1-3: pay for outcomes
Totex ends the capex treadmill; reconductor-first buys capacity at ~half greenfield cost; deferral savings are shared back to ratepayers.
Protections built in: hedged flat options under default dynamic rates, transition bill protection, low-income rates, non-retroactive tariffs.
The test: real bill growth below matched peer states.
Notes: The bill has three lines; each principle aims at one. This is the political center of the program.

## Slide 16
2035, if the principles hold
A factory requests 20 MW.
Software replies in minutes:
Headroom on three nearby feeders
Congestion-adjusted price at each
Flexible-service discount (curtail ~40 hrs/yr)
Upgrade option: cost and 18-month schedule
A firm delivery date, penalty-backed
No planner call. No negotiation. No years of waiting.
Household
Bill growth tracked against matched peers; hedged or dynamic, their choice; data centers carry their own line
Developer
Small projects connect same-day; big ones on a tariff-bound clock with priceable curtailment
Utility
Earns above peer benchmark on speed and deferral savings; storms still fixed, funded in totex
Operator
Resource adequacy is a quarterly settlement report. Dull as a bank statement, by design
Investor
Contracted, obligation-backed assets; cost of capital down for the boring reason: revenue certainty
Notes: Paper IV in one slide. Falsifiable in advance via the 2030 checkpoints.

## Slide 17
What the program buys
~100 GW
large-load headroom from flexibility on the existing grid (Duke); $100-220B of generation capex not built
2x
throughput on reconductored corridors at ~half the cost of new build (PNAS 2024); DOE just lent AEP Texas $3.26B for 2,800+ miles
+10 pts
of queue completion connects roughly as much capacity as the country added in the past decade (LBNL)
The only infrastructure program in American history whose first phase is already built.
It is waiting in a queue.
Full series: Paper I (history) · Paper II (diagnosis) · Paper III (reforms, coalition, roadmap)
Notes: End on the fact. Estimates are planning-grade with arithmetic shown in Paper III.